## major_energy_source
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Generators installed in 2018 by major energy source | Natural gas | 837 | 15839540 | 12823 | 6097 | 18920 | 534 | 554 | 541 | 24 | 11 | 35 | 83 | 26 | 109
2018 | Generators installed in 2018 by major energy source | Wind | 1382 | 9503260 | 6475 | 400 | 6875 | 127 | 67 | 121 | 51 | 6 | 57 | 56 | 6 | 62
2018 | Generators installed in 2018 by major energy source | Solar | 1848 | 9027082 | 4673 | 212 | 4886 | 12 | 42 | 12 | 399 | 5 | 404 | 475 | 6 | 481
2018 | Generators installed in 2018 by major energy source | Battery storage | 1239 | 247459 | 166 | 34 | 200 | 8 | 8 | 8 | 20 | 4 | 24 | 20 | 4 | 24
2018 | Generators installed in 2018 by major energy source | Petroleum liquids | 687 | 29136 | 25 | 17 | 42 | 8 | 2 | 4 | 3 | 7 | 10 | 13 | 9 | 22
2019 | Generators installed in 2019 by major energy source | Wind | 1391 | 13389697 | 9006 | 619 | 9626 | 167 | 155 | 166 | 54 | 4 | 58 | 55 | 5 | 60
2019 | Generators installed in 2019 by major energy source | Natural gas | 1078 | 8702033 | 4673 | 3402 | 8075 | 260 | 189 | 224 | 18 | 18 | 36 | 47 | 38 | 85
2019 | Generators installed in 2019 by major energy source | Solar | 1796 | 9860418 | 5450 | 40 | 5490 | 12 | 7 | 12 | 458 | 6 | 464 | 486 | 7 | 493
2019 | Generators installed in 2019 by major energy source | Biomass | 2904 | 494823 | 123 | 48 | 170 | 18 | 7 | 12 | 7 | 7 | 14 | 9 | 12 | 21
2019 | Generators installed in 2019 by major energy source | Battery storage | 2973 | 451270 | 130 | 22 | 152 | 4 | 4 | 4 | 30 | 6 | 36 | 31 | 7 | 38
2019 | Generators installed in 2019 by major energy source | Petroleum liquids | 1149 | 56436 | 3 | 46 | 49 | 1 | 3 | 3 | 2 | 16 | 18 | 2 | 22 | 24
2020 | Generators installed in 2020 by major energy source | Wind | 1498 | 22140254 | 14588 | 194 | 14781 | 178 | 48 | 172 | 82 | 4 | 86 | 92 | 4 | 96
2020 | Generators installed in 2020 by major energy source | Solar | 1655 | 17210678 | 10293 | 107 | 10401 | 19 | 8 | 19 | 547 | 14 | 561 | 566 | 14 | 580
2020 | Generators installed in 2020 by major energy source | Natural gas | 1116 | 6090503 | 4711 | 745 | 5456 | 236 | 68 | 176 | 20 | 11 | 31 | 58 | 26 | 84
2020 | Generators installed in 2020 by major energy source | Battery storage | 758 | 372778 | 457 | 34 | 492 | 10 | 5 | 9 | 46 | 7 | 53 | 48 | 8 | 56
2020 | Generators installed in 2020 by major energy source | Hydro | 1415 | 218829 | 27 | 128 | 155 | 27 | 43 | 39 | 1 | 3 | 4 | 3 | 3 | 6
2020 | Generators installed in 2020 by major energy source | Biomass | 2886 | 218182 | 14 | 62 | 76 | 3 | 12 | 8 | 4 | 5 | 9 | 4 | 8 | 12
2020 | Generators installed in 2020 by major energy source | Petroleum liquids | 795 | 28388 | 10 | 25 | 36 | 3 | 2 | 3 | 3 | 11 | 14 | 6 | 16 | 22
2021 | Generators installed in 2021 by major energy source | Wind | 1428 | 18730715 | 12872 | 245 | 13117 | 208 | 61 | 199 | 62 | 4 | 66 | 64 | 4 | 68
2021 | Generators installed in 2021 by major energy source | Solar | 1561 | 19772578 | 12643 | 22 | 12665 | 24 | 2 | 24 | 519 | 9 | 528 | 534 | 9 | 543
2021 | Generators installed in 2021 by major energy source | Natural gas | 920 | 6699768 | 5284 | 1996 | 7280 | 98 | 181 | 112 | 54 | 11 | 65 | 168 | 21 | 189
2021 | Generators installed in 2021 by major energy source | Battery storage | 1796 | 5515451 | 1470 | 1602 | 3072 | 16 | 94 | 29 | 90 | 17 | 107 | 91 | 19 | 110
2021 | Generators installed in 2021 by major energy source | Biomass | 2592 | 32143 | 2 | 10 | 12 | 2 | 3 | 2 | 1 | 4 | 5 | 2 | 4 | 6
2021 | Generators installed in 2021 by major energy source | Petroleum liquids | 1158 | 40984 | 0 | 35 | 35 | 0 | 3 | 3 | 1 | 11 | 12 | 1 | 21 | 22
2022 | Generators installed in 2022 by major energy source | Solar | 1588 | 17005246 | 10285 | 424 | 10709 | 27 | 53 | 28 | 381 | 8 | 389 | 392 | 13 | 405
2022 | Generators installed in 2022 by major energy source | Wind | 1451 | 11102651 | 7455 | 197 | 7653 | 226 | 197 | 225 | 33 | 1 | 34 | 36 | 1 | 37
2022 | Generators installed in 2022 by major energy source | Natural gas | 820 | 4441823 | 3941 | 1478 | 5419 | 219 | 123 | 181 | 18 | 12 | 30 | 55 | 21 | 76
2022 | Generators installed in 2022 by major energy source | Battery storage | 1205 | 4221310 | 2945 | 557 | 3503 | 37 | 33 | 36 | 80 | 17 | 97 | 84 | 20 | 104
2022 | Generators installed in 2022 by major energy source | Petroleum liquids | 2084 | 109806 | 15 | 38 | 53 | 4 | 2 | 2 | 4 | 18 | 22 | 6 | 26 | 32
2023 | Generators installed in 2023 by major energy source | Solar | 1617 | 30958875 | 18883 | 265 | 19149 | 40 | 29 | 39 | 478 | 9 | 487 | 487 | 17 | 504
2023 | Generators installed in 2023 by major energy source | Battery storage | 1361 | 9311981 | 5836 | 1005 | 6842 | 59 | 40 | 55 | 99 | 25 | 124 | 102 | 25 | 127
2023 | Generators installed in 2023 by major energy source | Wind | 1738 | 10414268 | 5404 | 588 | 5992 | 164 | 294 | 171 | 33 | 2 | 35 | 35 | 3 | 38
2023 | Generators installed in 2023 by major energy source | Natural gas | 782 | 4623395 | 2238 | 3676 | 5915 | 160 | 306 | 227 | 14 | 12 | 26 | 69 | 24 | 93
2023 | Generators installed in 2023 by major energy source | Petroleum liquids | 906 | 44236 | 33 | 16 | 49 | 7 | 1 | 3 | 5 | 11 | 16 | 13 | 11 | 24

## prime_mover
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Generators installed in 2018 by prime mover | Combustion turbine | 604 | 1254605 | 1234 | 844 | 2078 | 77 | 121 | 90 | 16 | 7 | 23
2018 | Generators installed in 2018 by prime mover | Combustion turbine (as part of combined cycle) | 877 | 8859106 | 6906 | 3199 | 10106 | 288 | 291 | 289 | 24 | 11 | 35
2018 | Generators installed in 2018 by prime mover | Steam turbine (as part of combined cycle) | 830 | 5290587 | 4335 | 2042 | 6378 | 333 | 340 | 336 | 13 | 6 | 19
2018 | Generators installed in 2018 by prime mover | Internal combustion engine | 1156 | 464378 | 373 | 29 | 402 | 9 | 3 | 7 | 43 | 11 | 54
2018 | Generators installed in 2018 by prime mover | Onshore wind turbine | 1382 | 9503260 | 6475 | 400 | 6875 | 116 | 67 | 111 | 56 | 6 | 62
2018 | Generators installed in 2018 by prime mover | Photovoltaic | 1848 | 9027082 | 4673 | 212 | 4886 | 10 | 35 | 10 | 475 | 6 | 481
2018 | Generators installed in 2018 by prime mover | Energy storage, battery | 1239 | 247459 | 166 | 34 | 200 | 8 | 8 | 8 | 20 | 4 | 24
2019 | Generators installed in 2019 by prime mover | Steam turbine | 2868 | 497326 | 131 | 42 | 173 | 15 | 21 | 16 | 9 | 2 | 11
2019 | Generators installed in 2019 by prime mover | Combustion turbine | 1481 | 2585124 | 472 | 1273 | 1746 | 47 | 75 | 65 | 10 | 17 | 27
2019 | Generators installed in 2019 by prime mover | Combustion turbine (as part of combined cycle) | 921 | 3344220 | 2404 | 1226 | 3630 | 267 | 245 | 259 | 9 | 5 | 14
2019 | Generators installed in 2019 by prime mover | Steam turbine (as part of combined cycle) | 990 | 2252139 | 1551 | 723 | 2274 | 388 | 241 | 325 | 4 | 3 | 7
2019 | Generators installed in 2019 by prime mover | Internal combustion engine | 1217 | 574482 | 240 | 232 | 472 | 9 | 5 | 7 | 26 | 45 | 71
2019 | Generators installed in 2019 by prime mover | Onshore wind turbine | 1391 | 13389697 | 9006 | 619 | 9626 | 164 | 124 | 160 | 55 | 5 | 60
2019 | Generators installed in 2019 by prime mover | Photovoltaic | 1796 | 9860418 | 5450 | 40 | 5490 | 11 | 6 | 11 | 486 | 7 | 493
2019 | Generators installed in 2019 by prime mover | Energy storage, battery | 2973 | 451270 | 130 | 22 | 152 | 4 | 3 | 4 | 31 | 7 | 38
2020 | Generators installed in 2020 by prime mover | Steam turbine | 895 | 48323 | 10 | 44 | 54 | 10 | 44 | 27 | 1 | 1 | 2
2020 | Generators installed in 2020 by prime mover | Combustion turbine | 636 | 238863 | 241 | 134 | 375 | 60 | 67 | 63 | 4 | 2 | 6
2020 | Generators installed in 2020 by prime mover | Combustion turbine (as part of combined cycle) | 1121 | 3358528 | 2770 | 226 | 2996 | 252 | 75 | 214 | 11 | 3 | 14
2020 | Generators installed in 2020 by prime mover | Steam turbine (as part of combined cycle) | 1210 | 2194453 | 1677 | 137 | 1814 | 240 | 46 | 181 | 7 | 3 | 10
2020 | Generators installed in 2020 by prime mover | Internal combustion engine | 1514 | 496906 | 38 | 290 | 328 | 1 | 7 | 4 | 45 | 41 | 86
2020 | Generators installed in 2020 by prime mover | Hydroelectric turbine | 1415 | 218829 | 27 | 128 | 155 | 9 | 43 | 26 | 3 | 3 | 6
2020 | Generators installed in 2020 by prime mover | Onshore wind turbine | 1498 | 22140254 | 14588 | 194 | 14781 | 159 | 48 | 154 | 92 | 4 | 96
2020 | Generators installed in 2020 by prime mover | Photovoltaic | 1655 | 17210678 | 10293 | 107 | 10401 | 18 | 8 | 18 | 566 | 14 | 580
2020 | Generators installed in 2020 by prime mover | Energy storage, battery | 758 | 372778 | 457 | 34 | 492 | 10 | 4 | 9 | 48 | 8 | 56
2021 | Generators installed in 2021 by prime mover | Steam turbine | 2739 | 40268 | 4 | 11 | 15 | 4 | 2 | 2 | 1 | 5 | 6
2021 | Generators installed in 2021 by prime mover | Combustion turbine | 529 | 1789499 | 1500 | 1884 | 3383 | 71 | 171 | 106 | 21 | 11 | 32
2021 | Generators installed in 2021 by prime mover | Combustion turbine (as part of combined cycle) | 1145 | 1527756 | 1334 | 0 | 1334 | 191 | 0 | 191 | 7 | 0 | 7
2021 | Generators installed in 2021 by prime mover | Steam turbine (as part of combined cycle) | 1585 | 1952637 | 1186 | 46 | 1232 | 237 | 46 | 205 | 5 | 1 | 6
2021 | Generators installed in 2021 by prime mover | Internal combustion engine | 1378 | 245116 | 76 | 102 | 178 | 1 | 4 | 1 | 135 | 29 | 164
2021 | Generators installed in 2021 by prime mover | Onshore wind turbine | 1428 | 18730715 | 12872 | 245 | 13117 | 201 | 61 | 193 | 64 | 4 | 68
2021 | Generators installed in 2021 by prime mover | Photovoltaic | 1561 | 19772578 | 12643 | 22 | 12665 | 24 | 2 | 23 | 534 | 9 | 543
2021 | Generators installed in 2021 by prime mover | Energy storage, battery | 1796 | 5515451 | 1470 | 1602 | 3072 | 16 | 84 | 28 | 91 | 19 | 110
2022 | Generators installed in 2022 by prime mover | Combustion turbine | 864 | 1021735 | 924 | 259 | 1183 | 51 | 37 | 47 | 18 | 7 | 25
2022 | Generators installed in 2022 by prime mover | Combustion turbine (as part of combined cycle) | 764 | 2035343 | 1889 | 774 | 2663 | 315 | 387 | 333 | 6 | 2 | 8
2022 | Generators installed in 2022 by prime mover | Steam turbine (as part of combined cycle) | 802 | 1147726 | 1031 | 401 | 1432 | 344 | 401 | 358 | 3 | 1 | 4
2022 | Generators installed in 2022 by prime mover | Internal combustion engine | 1788 | 346826 | 112 | 82 | 194 | 3 | 2 | 3 | 34 | 37 | 71
2022 | Generators installed in 2022 by prime mover | Onshore wind turbine | 1451 | 11102651 | 7455 | 197 | 7653 | 207 | 197 | 207 | 36 | 1 | 37
2022 | Generators installed in 2022 by prime mover | Photovoltaic | 1588 | 17005246 | 10285 | 424 | 10709 | 26 | 33 | 26 | 392 | 13 | 405
2022 | Generators installed in 2022 by prime mover | Energy storage, battery | 1205 | 4221310 | 2945 | 557 | 3503 | 35 | 28 | 34 | 84 | 20 | 104
2023 | Generators installed in 2023 by prime mover | Photovoltaic | 1617 | 30958875 | 18883 | 265 | 19149 | 39 | 16 | 38 | 487 | 17 | 504
2023 | Generators installed in 2023 by prime mover | Energy storage, battery | 1361 | 9311981 | 5836 | 1005 | 6842 | 58 | 40 | 55 | 102 | 25 | 127
2023 | Generators installed in 2023 by prime mover | Onshore wind turbine | 1738 | 10414268 | 5404 | 588 | 5992 | 154 | 196 | 158 | 35 | 3 | 38
2023 | Generators installed in 2023 by prime mover | Combustion turbine (as part of combined cycle) | 782 | 1796830 | 861 | 1436 | 2297 | 431 | 287 | 328 | 2 | 5 | 7
2023 | Generators installed in 2023 by prime mover | Combustion turbine | 562 | 1271646 | 798 | 1466 | 2264 | 61 | 163 | 103 | 13 | 9 | 22
2023 | Generators installed in 2023 by prime mover | Steam turbine (as part of combined cycle) | 1122 | 1340375 | 430 | 765 | 1195 | 215 | 255 | 239 | 2 | 3 | 5
2023 | Generators installed in 2023 by prime mover | Internal combustion engine | 1248 | 258780 | 182 | 25 | 207 | 3 | 1 | 2 | 65 | 18 | 83

## census_region
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Generators installed in 2018 by Census region | South | 958 | 14672077 | 10609 | 4700 | 15309 | 72 | 427 | 96 | 148 | 11 | 159 | 175 | 21 | 196
2018 | Generators installed in 2018 by Census region | Midwest | 1222 | 7652747 | 5273 | 991 | 6263 | 39 | 124 | 44 | 134 | 8 | 142 | 227 | 12 | 239
2018 | Generators installed in 2018 by Census region | Northeast | 1124 | 6887298 | 5274 | 856 | 6130 | 45 | 122 | 49 | 118 | 7 | 125 | 138 | 11 | 149
2018 | Generators installed in 2018 by Census region | West | 1687 | 5434354 | 3007 | 213 | 3221 | 31 | 30 | 31 | 97 | 7 | 104 | 107 | 7 | 114
2019 | Generators installed in 2019 by Census region | South | 1263 | 13569212 | 10253 | 493 | 10746 | 61 | 45 | 60 | 169 | 11 | 180 | 181 | 21 | 202
2019 | Generators installed in 2019 by Census region | Midwest | 1589 | 8327154 | 4390 | 849 | 5240 | 29 | 57 | 32 | 150 | 15 | 165 | 180 | 17 | 197
2019 | Generators installed in 2019 by Census region | Northeast | 1395 | 5505761 | 2115 | 1832 | 3947 | 14 | 167 | 25 | 146 | 11 | 157 | 162 | 15 | 177
2019 | Generators installed in 2019 by Census region | West | 1530 | 5552550 | 2626 | 1003 | 3629 | 25 | 50 | 29 | 104 | 20 | 124 | 107 | 38 | 145
2020 | Generators installed in 2020 by Census region | South | 1410 | 15456135 | 10422 | 536 | 10958 | 51 | 67 | 52 | 204 | 8 | 212 | 237 | 10 | 247
2020 | Generators installed in 2020 by Census region | Midwest | 1565 | 14154203 | 8773 | 272 | 9045 | 40 | 14 | 38 | 221 | 20 | 241 | 236 | 24 | 260
2020 | Generators installed in 2020 by Census region | West | 1503 | 12459809 | 7921 | 371 | 8292 | 55 | 27 | 53 | 143 | 14 | 157 | 156 | 26 | 182
2020 | Generators installed in 2020 by Census region | Northeast | 1358 | 4209465 | 2984 | 116 | 3100 | 22 | 9 | 21 | 135 | 13 | 148 | 148 | 19 | 167
2021 | Generators installed in 2021 by Census region | South | 1107 | 18925520 | 14798 | 2300 | 17098 | 68 | 164 | 74 | 217 | 14 | 231 | 322 | 19 | 341
2021 | Generators installed in 2021 by Census region | Midwest | 1463 | 13830590 | 9148 | 303 | 9451 | 48 | 18 | 46 | 189 | 17 | 206 | 197 | 27 | 224
2021 | Generators installed in 2021 by Census region | West | 1674 | 12698805 | 6346 | 1239 | 7585 | 47 | 69 | 50 | 135 | 18 | 153 | 146 | 23 | 169
2021 | Generators installed in 2021 by Census region | Northeast | 2605 | 5336723 | 1980 | 69 | 2048 | 11 | 10 | 11 | 186 | 7 | 193 | 195 | 9 | 204
2022 | Generators installed in 2022 by Census region | South | 1273 | 18339844 | 14257 | 153 | 14410 | 85 | 51 | 85 | 167 | 3 | 170 | 201 | 3 | 204
2022 | Generators installed in 2022 by Census region | West | 1444 | 10218807 | 5984 | 1091 | 7075 | 50 | 36 | 47 | 119 | 30 | 149 | 124 | 47 | 171
2022 | Generators installed in 2022 by Census region | Midwest | 1290 | 6676208 | 3745 | 1429 | 5173 | 40 | 119 | 49 | 93 | 12 | 105 | 105 | 19 | 124
2022 | Generators installed in 2022 by Census region | Northeast | 2430 | 1645978 | 656 | 22 | 677 | 5 | 2 | 5 | 137 | 11 | 148 | 143 | 12 | 155
2023 | Generators installed in 2023 by Census region | South | 1240 | 22289490 | 13678 | 4301 | 17978 | 70 | 331 | 86 | 196 | 13 | 209 | 253 | 27 | 280
2023 | Generators installed in 2023 by Census region | West | 1550 | 17841877 | 10438 | 1070 | 11508 | 98 | 33 | 83 | 107 | 32 | 139 | 141 | 40 | 181
2023 | Generators installed in 2023 by Census region | Midwest | 1632 | 10653366 | 6387 | 142 | 6529 | 49 | 24 | 48 | 130 | 6 | 136 | 142 | 6 | 148
2023 | Generators installed in 2023 by Census region | Northeast | 2366 | 4568022 | 1893 | 38 | 1931 | 12 | 5 | 12 | 153 | 7 | 160 | 170 | 7 | 177

## top_states_in_cap_add
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Generators installed in 2018 by top 5 states in capacity additions | Texas | 1001 | 3408145 | 3082 | 323 | 3405 | 110 | 81 | 106 | 28 | 4 | 32 | 45 | 4 | 49
2018 | Generators installed in 2018 by top 5 states in capacity additions | Florida | 868 | 2501314 | 898 | 1985 | 2882 | 60 | 662 | 160 | 15 | 3 | 18 | 16 | 8 | 24
2018 | Generators installed in 2018 by top 5 states in capacity additions | Pennsylvania | 774 | 1807459 | 2333 | 2 | 2335 | 583 | 2 | 467 | 4 | 1 | 5 | 9 | 1 | 10
2018 | Generators installed in 2018 by top 5 states in capacity additions | Virginia | 668 | 1459897 | 1811 | 374 | 2185 | 453 | 374 | 437 | 4 | 1 | 5 | 7 | 2 | 9
2018 | Generators installed in 2018 by top 5 states in capacity additions | Maryland | 921 | 1954720 | 2122 | 1 | 2123 | 177 | 1 | 163 | 12 | 1 | 13 | 16 | 1 | 17
2019 | Generators installed in 2019 by top five states in capacity additions | TX | 1264 | 6252128 | 4938 | 10 | 4948 | 170 | 10 | 165 | 29 | 1 | 30 | 31 | 1 | 32
2019 | Generators installed in 2019 by top five states in capacity additions | FL | 912 | 2320441 | 2469 | 77 | 2546 | 165 | 38 | 150 | 15 | 2 | 17 | 18 | 5 | 23
2019 | Generators installed in 2019 by top five states in capacity additions | PA | 840 | 1882913 | 1351 | 889 | 2240 | 193 | 889 | 280 | 7 | 1 | 8 | 17 | 3 | 20
2019 | Generators installed in 2019 by top five states in capacity additions | IA | 1707 | 2567855 | 963 | 541 | 1504 | 107 | 135 | 116 | 9 | 4 | 13 | 9 | 4 | 13
2019 | Generators installed in 2019 by top five states in capacity additions | CA | 1972 | 2415097 | 1189 | 36 | 1224 | 30 | 9 | 28 | 40 | 4 | 44 | 42 | 7 | 49
2020 | Generators installed in 2020 by top five states in capacity additions | TX | 1264 | 6474674 | 5124 | 0 | 5124 | 100 | 0 | 100 | 51 | 0 | 51 | 78 | 0 | 78
2020 | Generators installed in 2020 by top five states in capacity additions | CA | 1544 | 5373547 | 3459 | 22 | 3480 | 59 | 4 | 54 | 59 | 6 | 65 | 68 | 9 | 77
2020 | Generators installed in 2020 by top five states in capacity additions | FL | 1196 | 2138680 | 1640 | 149 | 1788 | 75 | 74 | 75 | 22 | 2 | 24 | 22 | 2 | 24
2020 | Generators installed in 2020 by top five states in capacity additions | IA | 1731 | 2621764 | 1446 | 69 | 1514 | 131 | 11 | 89 | 11 | 6 | 17 | 13 | 6 | 19
2020 | Generators installed in 2020 by top five states in capacity additions | NY | 1288 | 1896929 | 1459 | 13 | 1473 | 29 | 3 | 27 | 51 | 4 | 55 | 56 | 6 | 62
2021 | Generators installed in 2021 by top 4 states in capacity additions | TX | 1111 | 11286159 | 10155 | 3 | 10158 | 102 | 3 | 101 | 100 | 1 | 101 | 204 | 1 | 205
2021 | Generators installed in 2021 by top 4 states in capacity additions | FL | 764 | 2652141 | 1189 | 2282 | 3472 | 70 | 380 | 151 | 17 | 6 | 23 | 17 | 10 | 27
2021 | Generators installed in 2021 by top 4 states in capacity additions | CA | 1980 | 6271558 | 1972 | 1195 | 3167 | 25 | 109 | 36 | 78 | 11 | 89 | 88 | 13 | 101
2021 | Generators installed in 2021 by top 4 states in capacity additions | OH | 1168 | 2746321 | 2347 | 5 | 2351 | 335 | 2 | 261 | 7 | 2 | 9 | 10 | 2 | 12
2022 | Generators installed in 2022 by top 5 states in capacity additions | TX | 1224 | 10906080 | 8831 | 78 | 8908 | 164 | 78 | 162 | 54 | 1 | 55 | 83 | 1 | 84
2022 | Generators installed in 2022 by top 5 states in capacity additions | CA | 1460 | 6668395 | 3910 | 658 | 4568 | 57 | 73 | 59 | 69 | 9 | 78 | 73 | 16 | 89
2022 | Generators installed in 2022 by top 5 states in capacity additions | MI | 986 | 2920261 | 1759 | 1203 | 2961 | 195 | 601 | 269 | 9 | 2 | 11 | 14 | 6 | 20
2022 | Generators installed in 2022 by top 5 states in capacity additions | FL | 970 | 2601163 | 2607 | 74 | 2682 | 124 | 74 | 122 | 21 | 1 | 22 | 25 | 1 | 26
2022 | Generators installed in 2022 by top 5 states in capacity additions | VA | 1778 | 1166321 | 656 | 0 | 656 | 60 | 0 | 60 | 11 | 0 | 11 | 11 | 0 | 11
2023 | Generators installed in 2023 by top 5 states in capacity additions | TX | 1211 | 9104214 | 6601 | 919 | 7519 | 106 | 230 | 114 | 62 | 4 | 66 | 104 | 9 | 113
2023 | Generators installed in 2023 by top 5 states in capacity additions | CA | 1636 | 8853455 | 4587 | 825 | 5411 | 82 | 82 | 82 | 56 | 10 | 66 | 69 | 10 | 79
2023 | Generators installed in 2023 by top 5 states in capacity additions | FL | 1055 | 3179836 | 1810 | 1203 | 3014 | 62 | 401 | 94 | 29 | 3 | 32 | 30 | 5 | 35
2023 | Generators installed in 2023 by top 5 states in capacity additions | AL | 981 | 2334088 | 913 | 1468 | 2380 | 304 | 734 | 476 | 3 | 2 | 5 | 4 | 5 | 9
2023 | Generators installed in 2023 by top 5 states in capacity additions | AZ | 1377 | 2670539 | 1791 | 148 | 1939 | 224 | 21 | 129 | 8 | 7 | 15 | 14 | 7 | 21

## natural_gas_tech
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Natural gas generators installed in 2018 by technology | Combined cycle | 858 | 14149693 | 11241 | 5242 | 16483 | 937 | 1048 | 970 | 12 | 5 | 17 | 37 | 17 | 54
2018 | Natural gas generators installed in 2018 by technology | Combustion turbine | 604 | 1254605 | 1234 | 844 | 2078 | 206 | 211 | 208 | 6 | 4 | 10 | 16 | 7 | 23
2018 | Natural gas generators installed in 2018 by technology | Internal combustion engine | 1211 | 435242 | 348 | 11 | 359 | 58 | 6 | 45 | 6 | 2 | 8 | 30 | 2 | 32
2019 | Natural gas generators installed in 2019 by technology | Combined cycle | 948 | 5596359 | 3955 | 1949 | 5904 | 989 | 487 | 738 | 4 | 4 | 8 | 13 | 8 | 21
2019 | Natural gas generators installed in 2019 by technology | Combustion turbine | 1483 | 2567396 | 474 | 1258 | 1731 | 68 | 157 | 115 | 7 | 8 | 15 | 10 | 16 | 26
2019 | Natural gas generators installed in 2019 by technology | Internal combustion engine | 1227 | 522664 | 232 | 194 | 426 | 58 | 39 | 47 | 4 | 5 | 9 | 20 | 13 | 33
2019 | Natural gas generators installed in 2019 by technology | Steam turbine | 1084 | 15613 | 13 | 2 | 14 | 4 | 2 | 4 | 3 | 1 | 4 | 4 | 1 | 5
2020 | Natural gas generators installed in 2020 by technology | Combined cycle | 1155 | 5552981 | 4447 | 363 | 4810 | 889 | 182 | 687 | 5 | 2 | 7 | 18 | 6 | 24
2020 | Natural gas generators installed in 2020 by technology | Combustion turbine | 636 | 238863 | 241 | 134 | 375 | 120 | 67 | 94 | 2 | 2 | 4 | 4 | 2 | 6
2020 | Natural gas generators installed in 2020 by technology | Internal combustion engine | 1103 | 298659 | 24 | 247 | 271 | 2 | 35 | 14 | 13 | 7 | 20 | 36 | 18 | 54
2021 | Natural gas generators installed in 2021 by technology | Combined cycle | 1252 | 4698012 | 3707 | 46 | 3752 | 741 | 46 | 625 | 5 | 1 | 6 | 14 | 1 | 15
2021 | Natural gas generators installed in 2021 by technology | Combustion turbine | 512 | 1728912 | 1500 | 1878 | 3377 | 375 | 376 | 375 | 4 | 5 | 9 | 21 | 11 | 32
2021 | Natural gas generators installed in 2021 by technology | Internal combustion engine | 1323 | 178790 | 74 | 61 | 135 | 2 | 31 | 3 | 44 | 2 | 46 | 132 | 5 | 137
2021 | Natural gas generators installed in 2021 by technology | Steam turbine | 5953 | 94055 | 4 | 12 | 16 | 4 | 4 | 4 | 1 | 3 | 4 | 1 | 4 | 5
2022 | Natural gas generators installed in 2022 by technology | Combined cycle | 722 | 2808069 | 2715 | 1174 | 3890 | 1358 | 1174 | 1296 | 2 | 1 | 3 | 9 | 3 | 12
2022 | Natural gas generators installed in 2022 by technology | Combustion turbine | 1006 | 1396735 | 1129 | 259 | 1388 | 188 | 65 | 139 | 6 | 4 | 10 | 18 | 7 | 25
2022 | Natural gas generators installed in 2022 by technology | Internal combustion engine | 1677 | 237020 | 97 | 45 | 141 | 10 | 6 | 8 | 10 | 7 | 17 | 28 | 11 | 39
2023 | Natural gas generators installed in 2023 by technology | Combined cycle | 898 | 3137205 | 1291 | 2201 | 3492 | 645 | 734 | 698 | 2 | 3 | 5 | 4 | 8 | 12
2023 | Natural gas generators installed in 2023 by technology | Combustion turbine | 562 | 1271646 | 798 | 1466 | 2264 | 266 | 367 | 323 | 3 | 4 | 7 | 13 | 9 | 22
2023 | Natural gas generators installed in 2023 by technology | Internal combustion engine | 1354 | 214544 | 150 | 9 | 159 | 17 | 2 | 11 | 9 | 5 | 14 | 52 | 7 | 59

## natural_gas_cc_by_prime_mover
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Natural gas generators installed in 2018 at combined-cycle plants by prime mover | Combustion turbine | 877 | 8859106 | 6906 | 3199 | 10106 | 288 | 291 | 289 | 24 | 11 | 35
2018 | Natural gas generators installed in 2018 at combined-cycle plants by prime mover | Steam turbine | 830 | 5290587 | 4335 | 2042 | 6378 | 333 | 340 | 336 | 13 | 6 | 19
2019 | Natural gas generators installed in 2019 at combined-cycle plants by prime mover | Combustion turbine | 921 | 3344220 | 2404 | 1226 | 3630 | 267 | 245 | 259 | 9 | 5 | 14
2019 | Natural gas generators installed in 2019 at combined-cycle plants by prime mover | Steam turbine | 990 | 2252139 | 1551 | 723 | 2274 | 388 | 241 | 325 | 4 | 3 | 7
2020 | Natural gas generators installed in 2020 at combined-cycle plants by prime mover | Combustion turbine | 1121 | 3358528 | 2770 | 226 | 2996 | 252 | 75 | 214 | 11 | 3 | 14
2020 | Natural gas generators installed in 2020 at combined-cycle plants by prime mover | Steam turbine | 1210 | 2194453 | 1677 | 137 | 1814 | 240 | 46 | 181 | 7 | 3 | 10
2021 | Natural gas generators installed in 2021 at combined-cycle plants by prime mover | Combustion turbine | 1145 | 1527756 | 1334 | 0 | 1334 | 191 | 0 | 191 | 7 | 0 | 7
2021 | Natural gas generators installed in 2021 at combined-cycle plants by prime mover | Steam turbine | 1585 | 1952637 | 1186 | 46 | 1232 | 237 | 46 | 205 | 5 | 1 | 6
2022 | Natural gas generators installed in 2022 at combined-cycle plants by prime mover | Combustion turbine | 764 | 2035343 | 1889 | 774 | 2663 | 315 | 387 | 333 | 6 | 2 | 8
2022 | Natural gas generators installed in 2022 at combined-cycle plants by prime mover | Steam turbine | 802 | 1147726 | 1031 | 401 | 1432 | 344 | 401 | 358 | 3 | 1 | 4
2023 | Natural gas generators installed in 2023 at combined-cycle plants by prime mover | Combustion turbine (as part of combined cycle) | 782 | 1796830 | 861 | 1436 | 2297 | 431 | 287 | 328 | 2 | 5 | 7
2023 | Natural gas generators installed in 2023 at combined-cycle plants by prime mover | Steam turbine (as part of combined cycle) | 1122 | 1340375 | 430 | 765 | 1195 | 215 | 255 | 239 | 2 | 3 | 5

## pv_by_census_region
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Solar PV generators installed in 2018 by Census region | South | 1483 | 4111501 | 2772 | 0 | 2772 | 23 | 0 | 23 | 122 | 0 | 122 | 123 | 0 | 123
2018 | Solar PV generators installed in 2018 by Census region | West | 2177 | 3234948 | 1279 | 207 | 1486 | 17 | 103 | 19 | 77 | 2 | 79 | 78 | 2 | 80
2018 | Solar PV generators installed in 2018 by Census region | Northeast | 3009 | 1017201 | 336 | 2 | 338 | 3 | 2 | 3 | 104 | 1 | 105 | 109 | 1 | 110
2018 | Solar PV generators installed in 2018 by Census region | Midwest | 2288 | 663432 | 287 | 3 | 290 | 3 | 2 | 3 | 96 | 2 | 98 | 165 | 3 | 168
2019 | Solar PV generators installed in 2019 by Census region | South | 1542 | 4275756 | 2773 | 1 | 2773 | 21 | 1 | 20 | 135 | 1 | 136 | 136 | 1 | 137
2019 | Solar PV generators installed in 2019 by Census region | West | 1872 | 3752899 | 1967 | 38 | 2004 | 23 | 9 | 23 | 84 | 4 | 88 | 87 | 5 | 92
2019 | Solar PV generators installed in 2019 by Census region | Northeast | 2544 | 1186682 | 464 | 2 | 466 | 4 | 2 | 4 | 120 | 1 | 121 | 124 | 1 | 125
2019 | Solar PV generators installed in 2019 by Census region | Midwest | 2630 | 645080 | 245 | 0 | 245 | 2 | 0 | 2 | 119 | 0 | 119 | 139 | 0 | 139
2020 | Solar PV generators installed in 2020 by Census region | South | 1494 | 9865930 | 6544 | 61 | 6605 | 41 | 30 | 41 | 158 | 2 | 160 | 163 | 2 | 165
2020 | Solar PV generators installed in 2020 by Census region | West | 1788 | 4871052 | 2687 | 36 | 2724 | 25 | 9 | 25 | 107 | 4 | 111 | 112 | 4 | 116
2020 | Solar PV generators installed in 2020 by Census region | Midwest | 2055 | 1131544 | 544 | 7 | 550 | 3 | 1 | 3 | 169 | 5 | 174 | 173 | 5 | 178
2020 | Solar PV generators installed in 2020 by Census region | Northeast | 2576 | 1342152 | 518 | 3 | 521 | 5 | 1 | 4 | 113 | 3 | 116 | 118 | 3 | 121
2021 | Solar PV generators installed in 2021 by Census region | South | 1431 | 10327541 | 7211 | 7 | 7218 | 53 | 2 | 52 | 135 | 3 | 138 | 138 | 3 | 141
2021 | Solar PV generators installed in 2021 by Census region | West | 1445 | 4300704 | 2976 | 1 | 2977 | 32 | 1 | 32 | 93 | 1 | 94 | 100 | 1 | 101
2021 | Solar PV generators installed in 2021 by Census region | Midwest | 1770 | 3247810 | 1821 | 15 | 1835 | 12 | 3 | 12 | 154 | 5 | 159 | 158 | 5 | 163
2021 | Solar PV generators installed in 2021 by Census region | Northeast | 2988 | 1896523 | 635 | 0 | 635 | 5 | 0 | 5 | 137 | 0 | 137 | 138 | 0 | 138
2022 | Solar PV generators installed in 2022 by Census region | South | 1505 | 8752006 | 5742 | 74 | 5817 | 51 | 74 | 51 | 112 | 1 | 113 | 117 | 1 | 118
2022 | Solar PV generators installed in 2022 by Census region | West | 1549 | 5335430 | 3097 | 348 | 3445 | 37 | 58 | 38 | 84 | 6 | 90 | 85 | 11 | 96
2022 | Solar PV generators installed in 2022 by Census region | Midwest | 1784 | 1618960 | 908 | 0 | 908 | 12 | 0 | 12 | 73 | 0 | 73 | 74 | 0 | 74
2022 | Solar PV generators installed in 2022 by Census region | Northeast | 2409 | 1298851 | 539 | 1 | 539 | 5 | 1 | 5 | 112 | 1 | 113 | 116 | 1 | 117
2023 | Solar PV generators installed in 2023 by Census region | South | 1543 | 13431495 | 8707 | 0 | 8707 | 59 | 0 | 59 | 148 | 0 | 148 | 150 | 0 | 150
2023 | Solar PV generators installed in 2023 by Census region | West | 1544 | 8711094 | 5422 | 220 | 5642 | 62 | 28 | 59 | 87 | 8 | 95 | 87 | 16 | 103
2023 | Solar PV generators installed in 2023 by Census region | Midwest | 1606 | 5893771 | 3624 | 45 | 3669 | 34 | 45 | 34 | 107 | 1 | 108 | 107 | 1 | 108
2023 | Solar PV generators installed in 2023 by Census region | Northeast | 2584 | 2922515 | 1131 | 0 | 1131 | 8 | 0 | 8 | 136 | 0 | 136 | 143 | 0 | 143

## pv_by_top_states_in_cap_add
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Solar PV generators installed in 2018 by top 5 states in capacity additions | California | 2214 | 2323638 | 844 | 205 | 1050 | 23 | 205 | 28 | 36 | 1 | 37 | 36 | 1 | 37
2018 | Solar PV generators installed in 2018 by top 5 states in capacity additions | Florida | 1146 | 1007368 | 879 | 0 | 879 | 63 | 0 | 63 | 14 | 0 | 14 | 14 | 0 | 14
2018 | Solar PV generators installed in 2018 by top 5 states in capacity additions | Texas | 1322 | 936689 | 709 | 0 | 709 | 51 | 0 | 51 | 14 | 0 | 14 | 14 | 0 | 14
2018 | Solar PV generators installed in 2018 by top 5 states in capacity additions | North Carolina | 1969 | 1249853 | 635 | 0 | 635 | 13 | 0 | 13 | 49 | 0 | 49 | 49 | 0 | 49
2018 | Solar PV generators installed in 2018 by top 5 states in capacity additions | Minnesota | 2462 | 520927 | 212 | 0 | 212 | 3 | 0 | 3 | 77 | 0 | 77 | 145 | 0 | 145
2019 | Solar PV generators installed in 2019 by top five states in capacity additions | CA | 2002 | 2078466 | 1037 | 2 | 1038 | 40 | 2 | 38 | 26 | 1 | 27 | 28 | 1 | 29
2019 | Solar PV generators installed in 2019 by top five states in capacity additions | FL | 1338 | 991546 | 741 | 0 | 741 | 57 | 0 | 57 | 13 | 0 | 13 | 13 | 0 | 13
2019 | Solar PV generators installed in 2019 by top five states in capacity additions | GA | 1247 | 611256 | 490 | 0 | 490 | 33 | 0 | 33 | 15 | 0 | 15 | 15 | 0 | 15
2019 | Solar PV generators installed in 2019 by top five states in capacity additions | TX | 1596 | 780540 | 489 | 0 | 489 | 54 | 0 | 54 | 9 | 0 | 9 | 9 | 0 | 9
2019 | Solar PV generators installed in 2019 by top five states in capacity additions | NC | 1937 | 911387 | 471 | 0 | 471 | 9 | 0 | 9 | 51 | 0 | 51 | 51 | 0 | 51
2020 | Solar PV generators installed in 2020 by top five states in capacity additions | TX | 1264 | 3126951 | 2473 | 0 | 2473 | 155 | 0 | 155 | 16 | 0 | 16 | 17 | 0 | 17
2020 | Solar PV generators installed in 2020 by top five states in capacity additions | CA | 1810 | 3008219 | 1660 | 2 | 1662 | 37 | 1 | 35 | 45 | 2 | 47 | 48 | 2 | 50
2020 | Solar PV generators installed in 2020 by top five states in capacity additions | FL | 1252 | 2052268 | 1640 | 0 | 1640 | 75 | 0 | 75 | 22 | 0 | 22 | 22 | 0 | 22
2020 | Solar PV generators installed in 2020 by top five states in capacity additions | GA | 1850 | 1310708 | 651 | 58 | 709 | 27 | 58 | 28 | 24 | 1 | 25 | 24 | 1 | 25
2020 | Solar PV generators installed in 2020 by top five states in capacity additions | VA | 1707 | 1118483 | 655 | 0 | 655 | 47 | 0 | 47 | 14 | 0 | 14 | 18 | 0 | 18
2021 | Solar PV generators installed in 2021 by top 5 states in capacity additions | TX | 1367 | 4903355 | 3586 | 0 | 3586 | 138 | 0 | 138 | 26 | 0 | 26 | 28 | 0 | 28
2021 | Solar PV generators installed in 2021 by top 5 states in capacity additions | FL | 1127 | 1328095 | 1178 | 0 | 1178 | 74 | 0 | 74 | 16 | 0 | 16 | 16 | 0 | 16
2021 | Solar PV generators installed in 2021 by top 5 states in capacity additions | CA | 1640 | 1921155 | 1171 | 0 | 1171 | 23 | 0 | 23 | 52 | 0 | 52 | 59 | 0 | 59
2021 | Solar PV generators installed in 2021 by top 5 states in capacity additions | GA | 1714 | 1490796 | 869 | 1 | 870 | 97 | 1 | 87 | 9 | 1 | 10 | 9 | 1 | 10
2021 | Solar PV generators installed in 2021 by top 5 states in capacity additions | NC | 1521 | 969955 | 633 | 5 | 638 | 16 | 5 | 16 | 39 | 1 | 40 | 39 | 1 | 40
2022 | Solar PV generators installed in 2022 by top 5 states in capacity additions | TX | 1310 | 2984501 | 2278 | 0 | 2278 | 152 | 0 | 152 | 15 | 0 | 15 | 17 | 0 | 17
2022 | Solar PV generators installed in 2022 by top 5 states in capacity additions | CA | 1627 | 3412788 | 1848 | 250 | 2098 | 43 | 250 | 48 | 43 | 1 | 44 | 44 | 4 | 48
2022 | Solar PV generators installed in 2022 by top 5 states in capacity additions | FL | 1377 | 1672593 | 1140 | 74 | 1215 | 67 | 74 | 67 | 17 | 1 | 18 | 19 | 1 | 20
2022 | Solar PV generators installed in 2022 by top 5 states in capacity additions | VA | 1795 | 1158696 | 646 | 0 | 646 | 65 | 0 | 65 | 10 | 0 | 10 | 10 | 0 | 10
2022 | Solar PV generators installed in 2022 by top 5 states in capacity additions | GA | 1975 | 1076572 | 545 | 0 | 545 | 78 | 0 | 78 | 7 | 0 | 7 | 7 | 0 | 7
2023 | Solar PV generators installed in 2023 by top 5 states in capacity additions | TX | 1330 | 4822840 | 3626 | 0 | 3626 | 181 | 0 | 181 | 20 | 0 | 20 | 20 | 0 | 20
2023 | Solar PV generators installed in 2023 by top 5 states in capacity additions | CA | 1639 | 3775872 | 2170 | 133 | 2303 | 48 | 133 | 50 | 45 | 1 | 46 | 45 | 1 | 46
2023 | Solar PV generators installed in 2023 by top 5 states in capacity additions | FL | 1370 | 2476914 | 1808 | 0 | 1808 | 62 | 0 | 62 | 29 | 0 | 29 | 29 | 0 | 29
2023 | Solar PV generators installed in 2023 by top 5 states in capacity additions | OH | 1476 | 1952977 | 1323 | 0 | 1323 | 120 | 0 | 120 | 11 | 0 | 11 | 11 | 0 | 11
2023 | Solar PV generators installed in 2023 by top 5 states in capacity additions | AZ | 1349 | 1227450 | 910 | 0 | 910 | 152 | 0 | 152 | 6 | 0 | 6 | 6 | 0 | 6

## pv_by_panel_type_and_tracking
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Solar PV generators installed in 2018 by PV panel type and tracking system | Crystalline silicon, fixed tilt | 1767 | 3007462 | 1700 | 2 | 1702 | 7 | 2 | 7 | 236 | 1 | 237 | 284 | 1 | 285
2018 | Solar PV generators installed in 2018 by PV panel type and tracking system | Crystalline silicon, axis-based tracking | 1834 | 3717202 | 1818 | 209 | 2026 | 17 | 70 | 18 | 109 | 3 | 112 | 115 | 4 | 119
2018 | Solar PV generators installed in 2018 by PV panel type and tracking system | Thin-film CdTe, fixed tilt | 2095 | 81486 | 39 | 0 | 39 | 3 | 0 | 3 | 15 | 0 | 15 | 32 | 0 | 32
2018 | Solar PV generators installed in 2018 by PV panel type and tracking system | Thin-film CdTe, axis-based tracking | 1884 | 1626950 | 862 | 1 | 863 | 51 | 1 | 48 | 17 | 1 | 18 | 22 | 1 | 23
2018 | Solar PV generators installed in 2018 by PV panel type and tracking system | Other | 2332 | 593981 | 255 | 0 | 255 | 12 | 0 | 12 | 22 | 0 | 22 | 22 | 0 | 22
2019 | Solar PV generators installed in 2019 by PV panel type and tracking system | Crystalline silicon, fixed tilt | 2242 | 2006743 | 892 | 2 | 895 | 5 | 1 | 5 | 190 | 2 | 192 | 211 | 3 | 214
2019 | Solar PV generators installed in 2019 by PV panel type and tracking system | Crystalline silicon, axis-based tracking | 1497 | 3715450 | 2455 | 28 | 2483 | 13 | 28 | 13 | 190 | 1 | 191 | 197 | 1 | 198
2019 | Solar PV generators installed in 2019 by PV panel type and tracking system | Thin-film CdTe, fixed tilt | 1537 | 194875 | 126 | 1 | 127 | 11 | 1 | 10 | 12 | 1 | 13 | 12 | 1 | 13
2019 | Solar PV generators installed in 2019 by PV panel type and tracking system | Thin-film CdTe, axis-based tracking | 1962 | 3187757 | 1623 | 2 | 1624 | 40 | 2 | 39 | 41 | 1 | 42 | 41 | 1 | 42
2019 | Solar PV generators installed in 2019 by PV panel type and tracking system | Other | 2094 | 755593 | 354 | 7 | 361 | 14 | 7 | 14 | 25 | 1 | 26 | 25 | 1 | 26
2020 | Solar PV generators installed in 2020 by PV panel type and tracking system | Crystalline silicon, fixed tilt | 1957 | 2408370 | 1226 | 5 | 1231 | 6 | 1 | 6 | 210 | 5 | 215 | 221 | 5 | 226
2020 | Solar PV generators installed in 2020 by PV panel type and tracking system | Crystalline silicon, axis-based tracking | 1587 | 10064710 | 6333 | 7 | 6340 | 25 | 1 | 24 | 255 | 5 | 260 | 262 | 5 | 267
2020 | Solar PV generators installed in 2020 by PV panel type and tracking system | Thin-film CdTe, fixed tilt | 1684 | 504584 | 300 | 0 | 300 | 19 | 0 | 19 | 16 | 0 | 16 | 16 | 0 | 16
2020 | Solar PV generators installed in 2020 by PV panel type and tracking system | Thin-film CdTe, axis-based tracking | 1631 | 3519031 | 2067 | 90 | 2157 | 53 | 45 | 53 | 39 | 2 | 41 | 40 | 2 | 42
2020 | Solar PV generators installed in 2020 by PV panel type and tracking system | Other | 1914 | 713983 | 368 | 5 | 373 | 14 | 2 | 13 | 27 | 2 | 29 | 27 | 2 | 29
2021 | Solar PV generators installed in 2021 by PV panel type and tracking system | Crystalline silicon, fixed tilt | 2047 | 3343205 | 1624 | 9 | 1633 | 7 | 2 | 7 | 221 | 6 | 227 | 229 | 6 | 235
2021 | Solar PV generators installed in 2021 by PV panel type and tracking system | Crystalline silicon, axis-based tracking | 1423 | 9549044 | 6703 | 8 | 6711 | 29 | 4 | 29 | 228 | 2 | 230 | 234 | 2 | 236
2021 | Solar PV generators installed in 2021 by PV panel type and tracking system | Thin-film CdTe, all types | 1626 | 6182316 | 3796 | 5 | 3801 | 88 | 5 | 86 | 43 | 1 | 44 | 44 | 1 | 45
2021 | Solar PV generators installed in 2021 by PV panel type and tracking system | Other | 1344 | 698013 | 519 | 0 | 519 | 19 | 0 | 19 | 27 | 0 | 27 | 27 | 0 | 27
2022 | Solar PV generators installed in 2022 by PV panel type and tracking system | Crystalline silicon, fixed tilt | 1788 | 1898543 | 1056 | 6 | 1062 | 9 | 3 | 9 | 121 | 2 | 123 | 128 | 4 | 132
2022 | Solar PV generators installed in 2022 by PV panel type and tracking system | Crystalline silicon, axis-based tracking | 1605 | 8804468 | 5068 | 418 | 5486 | 27 | 70 | 28 | 190 | 6 | 196 | 192 | 9 | 201
2022 | Solar PV generators installed in 2022 by PV panel type and tracking system | Thin-film CdTe, fixed tilt | 1249 | 480816 | 385 | 0 | 385 | 38 | 0 | 38 | 10 | 0 | 10 | 10 | 0 | 10
2022 | Solar PV generators installed in 2022 by PV panel type and tracking system | Thin-film CdTe, axis-based tracking | 1561 | 5229273 | 3349 | 0 | 3349 | 84 | 0 | 84 | 40 | 0 | 40 | 42 | 0 | 42
2022 | Solar PV generators installed in 2022 by PV panel type and tracking system | Other | 1386 | 592146 | 427 | 0 | 427 | 21 | 0 | 21 | 20 | 0 | 20 | 20 | 0 | 20
2023 | Solar PV generators installed in 2023 by PV panel type and tracking system | Crystalline silicon, axis-based tracking | 1563 | 19202525 | 12024 | 265 | 12288 | 47 | 33 | 46 | 258 | 8 | 266 | 259 | 8 | 267
2023 | Solar PV generators installed in 2023 by PV panel type and tracking system | Crystalline silicon, fixed tilt | 2635 | 2154679 | 817 | 1 | 818 | 6 | 1 | 6 | 133 | 1 | 134 | 141 | 9 | 150
2023 | Solar PV generators installed in 2023 by PV panel type and tracking system | Thin-film CdTe, all types | 1663 | 6589300 | 3962 | 0 | 3962 | 66 | 0 | 66 | 60 | 0 | 60 | 60 | 0 | 60
2023 | Solar PV generators installed in 2023 by PV panel type and tracking system | Other | 1448 | 3012370 | 2081 | 0 | 2081 | 77 | 0 | 77 | 27 | 0 | 27 | 27 | 0 | 27

## pv_by_tot_cap_added_at_plant
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Solar PV generators installed in 2018 by total capacity added at plant | 1-5 MW | 2560 | 1967327 | 761 | 7 | 768 | 3 | 2 | 2 | 304 | 4 | 308 | 374 | 5 | 379
2018 | Solar PV generators installed in 2018 by total capacity added at plant | 5-10 MW | 1933 | 612145 | 317 | 0 | 317 | 9 | 0 | 9 | 37 | 0 | 37 | 43 | 0 | 43
2018 | Solar PV generators installed in 2018 by total capacity added at plant | 10-100 MW | 1700 | 3870374 | 2277 | 0 | 2277 | 46 | 0 | 46 | 50 | 0 | 50 | 50 | 0 | 50
2018 | Solar PV generators installed in 2018 by total capacity added at plant | 100-250 MW | 1692 | 2577235 | 1318 | 205 | 1523 | 165 | 205 | 169 | 8 | 1 | 9 | 8 | 1 | 9
2019 | Solar PV generators installed in 2019 by total capacity added at plant | 1-5 MW | 2614 | 2235093 | 850 | 5 | 855 | 2 | 1 | 2 | 361 | 4 | 365 | 387 | 5 | 392
2019 | Solar PV generators installed in 2019 by total capacity added at plant | 5-10 MW | 1898 | 516175 | 265 | 7 | 272 | 8 | 7 | 8 | 32 | 1 | 33 | 34 | 1 | 35
2019 | Solar PV generators installed in 2019 by total capacity added at plant | 10-100 MW | 1635 | 4208342 | 2546 | 28 | 2574 | 48 | 28 | 48 | 53 | 1 | 54 | 53 | 1 | 54
2019 | Solar PV generators installed in 2019 by total capacity added at plant | 100-250 MW | 1622 | 2900808 | 1789 | 0 | 1789 | 149 | 0 | 149 | 12 | 0 | 12 | 12 | 0 | 12
2020 | Solar PV generators installed in 2020 by total capacity added at plant | 1-5 MW | 2577 | 2311466 | 880 | 17 | 897 | 2 | 1 | 2 | 397 | 12 | 409 | 408 | 12 | 420
2020 | Solar PV generators installed in 2020 by total capacity added at plant | 5-10 MW | 2390 | 672808 | 282 | 0 | 282 | 9 | 0 | 9 | 33 | 0 | 33 | 34 | 0 | 34
2020 | Solar PV generators installed in 2020 by total capacity added at plant | 10-100 MW | 1668 | 8219764 | 4838 | 90 | 4928 | 52 | 45 | 52 | 93 | 2 | 95 | 97 | 2 | 99
2020 | Solar PV generators installed in 2020 by total capacity added at plant | 100-400 MW | 1399 | 6006640 | 4294 | 0 | 4294 | 179 | 0 | 179 | 24 | 0 | 24 | 27 | 0 | 27
2021 | Solar PV generators installed in 2021 by total capacity added at plant | 1-5 MW | 2866 | 2863372 | 977 | 22 | 999 | 3 | 2 | 3 | 390 | 9 | 399 | 400 | 9 | 409
2021 | Solar PV generators installed in 2021 by total capacity added at plant | 5-10 MW | 2391 | 437638 | 183 | 0 | 183 | 9 | 0 | 9 | 21 | 0 | 21 | 22 | 0 | 22
2021 | Solar PV generators installed in 2021 by total capacity added at plant | 10-100 MW | 1518 | 6420969 | 4231 | 0 | 4231 | 60 | 0 | 60 | 70 | 0 | 70 | 72 | 0 | 72
2021 | Solar PV generators installed in 2021 by total capacity added at plant | 100-500 MW | 1386 | 10050599 | 7252 | 0 | 7252 | 191 | 0 | 191 | 38 | 0 | 38 | 40 | 0 | 40
2022 | Solar PV generators installed in 2022 by total capacity added at plant | 1-5 MW | 2555 | 1833443 | 707 | 10 | 718 | 3 | 3 | 3 | 250 | 4 | 254 | 255 | 6 | 261
2022 | Solar PV generators installed in 2022 by total capacity added at plant | 5-10 MW | 2000 | 386159 | 193 | 0 | 193 | 7 | 0 | 7 | 26 | 0 | 26 | 29 | 0 | 29
2022 | Solar PV generators installed in 2022 by total capacity added at plant | 10-100 MW | 1544 | 6371228 | 3962 | 164 | 4125 | 54 | 54 | 54 | 74 | 3 | 77 | 76 | 3 | 79
2022 | Solar PV generators installed in 2022 by total capacity added at plant | 100-500 MW | 1483 | 8414416 | 5423 | 250 | 5673 | 175 | 250 | 177 | 31 | 1 | 32 | 32 | 4 | 36
2023 | Solar PV generators installed in 2023 by total capacity added at plant | 1-5 MW | 2909 | 2154953 | 735 | 6 | 741 | 3 | 3 | 3 | 267 | 2 | 269 | 271 | 10 | 281
2023 | Solar PV generators installed in 2023 by total capacity added at plant | 5-10 MW | 2348 | 342176 | 127 | 19 | 146 | 7 | 6 | 7 | 17 | 3 | 20 | 18 | 3 | 21
2023 | Solar PV generators installed in 2023 by total capacity added at plant | 10-100 MW | 1772 | 12711478 | 7065 | 108 | 7173 | 50 | 36 | 50 | 141 | 3 | 144 | 145 | 3 | 148
2023 | Solar PV generators installed in 2023 by total capacity added at plant | greater than 100 MW | 1420 | 15750269 | 10957 | 133 | 11090 | 207 | 133 | 205 | 53 | 1 | 54 | 53 | 1 | 54

## wind_gen_by_census_region
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Wind generators installed in 2018 by Census region | South | 1183 | 3621898 | 2759 | 303 | 3062 | 197 | 152 | 191 | 14 | 2 | 16 | 14 | 2 | 16
2018 | Wind generators installed in 2018 by Census region | Midwest and Northeast | 1573 | 4489981 | 2763 | 92 | 2855 | 99 | 46 | 95 | 28 | 2 | 30 | 33 | 2 | 35
2018 | Wind generators installed in 2018 by Census region | West | 1453 | 1391381 | 953 | 5 | 958 | 106 | 2 | 87 | 9 | 2 | 11 | 9 | 2 | 11
2019 | Wind generators installed in 2019 by Census region | Midwest and Northeast | 1593 | 7425188 | 4041 | 619 | 4661 | 130 | 155 | 133 | 31 | 4 | 35 | 31 | 5 | 36
2019 | Wind generators installed in 2019 by Census region | South | 1166 | 5073701 | 4352 | 0 | 4352 | 242 | 0 | 242 | 18 | 0 | 18 | 19 | 0 | 19
2019 | Wind generators installed in 2019 by Census region | West | 1454 | 890808 | 613 | 0 | 613 | 123 | 0 | 123 | 5 | 0 | 5 | 5 | 0 | 5
2020 | Wind generators installed in 2020 by Census region | Midwest and Northeast | 1598 | 12371039 | 7549 | 194 | 7742 | 164 | 48 | 155 | 46 | 4 | 50 | 53 | 4 | 57
2020 | Wind generators installed in 2020 by Census region | South | 1329 | 4793823 | 3607 | 0 | 3607 | 225 | 0 | 225 | 16 | 0 | 16 | 17 | 0 | 17
2020 | Wind generators installed in 2020 by Census region | West | 1450 | 4975392 | 3432 | 0 | 3432 | 172 | 0 | 172 | 20 | 0 | 20 | 22 | 0 | 22
2021 | Wind generators installed in 2021 by Census region | Midwest | 1562 | 8294664 | 5176 | 135 | 5311 | 199 | 135 | 197 | 26 | 1 | 27 | 26 | 1 | 27
2021 | Wind generators installed in 2021 by Census region | South | 1161 | 5650912 | 4864 | 3 | 4868 | 270 | 3 | 256 | 18 | 1 | 19 | 18 | 1 | 19
2021 | Wind generators installed in 2021 by Census region | West | 1527 | 4145258 | 2608 | 107 | 2715 | 201 | 54 | 181 | 13 | 2 | 15 | 15 | 2 | 17
2021 | Wind generators installed in 2021 by Census region | Northeast | 2863 | 639881 | 224 | 0 | 224 | 45 | 0 | 45 | 5 | 0 | 5 | 5 | 0 | 5
2022 | Wind generators installed in 2022 by Census region | South | 1395 | 7667912 | 5496 | 0 | 5496 | 343 | 0 | 343 | 16 | 0 | 16 | 17 | 0 | 17
2022 | Wind generators installed in 2022 by Census region | Midwest and Northeast | 1686 | 2414294 | 1234 | 197 | 1432 | 103 | 197 | 110 | 12 | 1 | 13 | 13 | 1 | 14
2022 | Wind generators installed in 2022 by Census region | West | 1407 | 1020446 | 725 | 0 | 725 | 145 | 0 | 145 | 5 | 0 | 5 | 6 | 0 | 6
2023 | Wind generators installed in 2023 by Census region | Midwest | 1758 | 4383049 | 2406 | 88 | 2494 | 160 | 88 | 156 | 15 | 1 | 16 | 17 | 1 | 18
2023 | Wind generators installed in 2023 by Census region | South | 1468 | 3100952 | 1613 | 500 | 2112 | 230 | 500 | 264 | 7 | 1 | 8 | 7 | 2 | 9
2023 | Wind generators installed in 2023 by Census region | Northeast and West | 2114 | 2930268 | 1386 | 0 | 1386 | 126 | 0 | 126 | 11 | 0 | 11 | 11 | 0 | 11

## wind_gen_by_plant_size
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Wind generators installed in 2018 by plant size | 1-25 MW | 1790 | 215131 | 112 | 8 | 120 | 9 | 3 | 8 | 13 | 3 | 16 | 18 | 3 | 21
2018 | Wind generators installed in 2018 by plant size | 25-100 MW | 1676 | 1292731 | 679 | 92 | 771 | 68 | 46 | 64 | 10 | 2 | 12 | 10 | 2 | 12
2018 | Wind generators installed in 2018 by plant size | 100-200 MW | 1435 | 3488021 | 2430 | 0 | 2430 | 152 | 0 | 152 | 16 | 0 | 16 | 16 | 0 | 16
2018 | Wind generators installed in 2018 by plant size | 200-600 MW | 1268 | 4507377 | 3254 | 300 | 3554 | 271 | 300 | 273 | 12 | 1 | 13 | 12 | 1 | 13
2019 | Wind generators installed in 2019 by plant size | 1-25 MW | 4540 | 135735 | 25 | 5 | 30 | 3 | 5 | 3 | 9 | 1 | 10 | 9 | 2 | 11
2019 | Wind generators installed in 2019 by plant size | 25-100 MW | 1550 | 1231362 | 718 | 76 | 794 | 72 | 76 | 72 | 10 | 1 | 11 | 10 | 1 | 11
2019 | Wind generators installed in 2019 by plant size | 100-200 MW | 1615 | 4447859 | 2613 | 140 | 2753 | 174 | 140 | 172 | 15 | 1 | 16 | 15 | 1 | 16
2019 | Wind generators installed in 2019 by plant size | >200 MW | 1252 | 7574742 | 5649 | 399 | 6048 | 282 | 399 | 288 | 20 | 1 | 21 | 21 | 1 | 22
2020 | Wind generators installed in 2020 by plant size | 1-25 MW | 5059 | 366814 | 69 | 4 | 72 | 7 | 2 | 6 | 10 | 2 | 12 | 14 | 2 | 16
2020 | Wind generators installed in 2020 by plant size | 25-100 MW | 2260 | 1548684 | 625 | 60 | 685 | 63 | 60 | 62 | 10 | 1 | 11 | 10 | 1 | 11
2020 | Wind generators installed in 2020 by plant size | 100-200 MW | 1531 | 7632206 | 4856 | 130 | 4986 | 157 | 130 | 156 | 31 | 1 | 32 | 32 | 1 | 33
2020 | Wind generators installed in 2020 by plant size | >200 MW | 1393 | 12592550 | 9038 | 0 | 9038 | 292 | 0 | 292 | 31 | 0 | 31 | 36 | 0 | 36
2021 | Wind generators installed in 2021 by plant size | 1-25 MW | 2708 | 130531 | 45 | 3 | 48 | 7 | 3 | 7 | 6 | 1 | 7 | 6 | 1 | 7
2021 | Wind generators installed in 2021 by plant size | 25-100 MW | 1887 | 1128787 | 491 | 107 | 598 | 70 | 54 | 66 | 7 | 2 | 9 | 8 | 2 | 10
2021 | Wind generators installed in 2021 by plant size | 100-200 MW | 1464 | 4190953 | 2727 | 135 | 2862 | 160 | 135 | 159 | 17 | 1 | 18 | 17 | 1 | 18
2021 | Wind generators installed in 2021 by plant size | >200 MW | 1382 | 13280444 | 9608 | 0 | 9608 | 300 | 0 | 300 | 32 | 0 | 32 | 33 | 0 | 33
2022 | Wind generators installed in 2022 by plant size | 1-100 MW | 1806 | 379034 | 210 | 0 | 210 | 26 | 0 | 26 | 8 | 0 | 8 | 10 | 0 | 10
2022 | Wind generators installed in 2022 by plant size | 100-200 MW | 1614 | 2180086 | 1153 | 197 | 1350 | 144 | 197 | 150 | 8 | 1 | 9 | 8 | 1 | 9
2022 | Wind generators installed in 2022 by plant size | >200 MW | 1402 | 8543532 | 6092 | 0 | 6092 | 358 | 0 | 358 | 17 | 0 | 17 | 18 | 0 | 18
2023 | Wind generators installed in 2023 by plant size | 1-100 MW | 2260 | 1280390 | 479 | 88 | 567 | 80 | 88 | 81 | 6 | 1 | 7 | 8 | 1 | 9
2023 | Wind generators installed in 2023 by plant size | 100-200 MW | 1846 | 3800531 | 2059 | 0 | 2059 | 137 | 0 | 137 | 15 | 0 | 15 | 15 | 0 | 15
2023 | Wind generators installed in 2023 by plant size | greater than 200 MW | 1584 | 5333347 | 2867 | 500 | 3367 | 239 | 500 | 259 | 12 | 1 | 13 | 12 | 2 | 14

## wind_gen_by_wind_class
Year | Section_Title | Category | Avg_Construction_Cost_USD_per_kW | Total_Construction_Cost_Thousand_USD | Capacity_MW_New_Plants | Capacity_MW_Existing_Plants | Capacity_MW_Total | Avg_Capacity_MW_New_Plants | Avg_Capacity_MW_Existing_Plants | Avg_Capacity_MW_Total | Num_Plants_New_Plants | Num_Plants_Existing_Plants | Num_Plants_Total | Num_Generators_New_Plants | Num_Generators_Existing_Plants | Num_Generators_Total
2018 | Wind generators installed in 2018 by wind class | 1 and 2 | 1286 | 6266785 | 4519 | 356 | 4875 | 146 | 71 | 135 | 31 | 5 | 36 | 35 | 5 | 40
2018 | Wind generators installed in 2018 by wind class | 3 and 4 | 1618 | 3236475 | 1956 | 44 | 2000 | 98 | 44 | 95 | 20 | 1 | 21 | 21 | 1 | 22
2019 | Wind generators installed in 2019 by wind class | 1 and 2 | 1387 | 9306094 | 6706 | 5 | 6710 | 203 | 5 | 197 | 33 | 1 | 34 | 33 | 2 | 35
2019 | Wind generators installed in 2019 by wind class | 3 | 1401 | 4083603 | 2300 | 615 | 2915 | 110 | 205 | 121 | 21 | 3 | 24 | 22 | 3 | 25
2020 | Wind generators installed in 2020 by wind class | 1 | 1991 | 783796 | 392 | 2 | 394 | 196 | 2 | 131 | 2 | 1 | 3 | 2 | 1 | 3
2020 | Wind generators installed in 2020 by wind class | 2 | 1443 | 13290141 | 9080 | 132 | 9212 | 189 | 66 | 184 | 48 | 2 | 50 | 50 | 2 | 52
2020 | Wind generators installed in 2020 by wind class | 3 and 4 | 1559 | 8066318 | 5116 | 60 | 5176 | 160 | 60 | 157 | 32 | 1 | 33 | 40 | 1 | 41
2021 | Wind generators installed in 2021 by wind class | 1 | 1526 | 1558906 | 914 | 107 | 1021 | 131 | 54 | 113 | 7 | 2 | 9 | 7 | 2 | 9
2021 | Wind generators installed in 2021 by wind class | 2 | 1417 | 11870541 | 8372 | 3 | 8375 | 220 | 3 | 215 | 38 | 1 | 39 | 40 | 1 | 41
2021 | Wind generators installed in 2021 by wind class | 3 | 1425 | 5301268 | 3586 | 135 | 3721 | 211 | 135 | 207 | 17 | 1 | 18 | 17 | 1 | 18
2022 | Wind generators installed in 2022 by wind class | 1 | 1463 | 1389113 | 950 | 0 | 950 | 190 | 0 | 190 | 5 | 0 | 5 | 5 | 0 | 5
2022 | Wind generators installed in 2022 by wind class | 2 | 1463 | 6287131 | 4298 | 0 | 4298 | 253 | 0 | 253 | 17 | 0 | 17 | 19 | 0 | 19
2022 | Wind generators installed in 2022 by wind class | 3 and 4 | 1424 | 3426408 | 2208 | 197 | 2405 | 201 | 197 | 200 | 11 | 1 | 12 | 12 | 1 | 13
2023 | Wind generators installed in 2023 by wind class | Class 1 and 2 | 1704 | 7321071 | 3708 | 588 | 4296 | 185 | 294 | 195 | 20 | 2 | 22 | 20 | 3 | 23
2023 | Wind generators installed in 2023 by wind class | Class 3 | 1823 | 3093198 | 1696 | 0 | 1696 | 130 | 0 | 130 | 13 | 0 | 13 | 15 | 0 | 15